BID DOCUMENT

(RFP)

NAME of Work:  Supply/Installation and Fixation of Lab Equipment for Engineering Department KIU Main Campus Gilgit

OPENING DATE				:		June 05, 2024

OPENING TIME				:		11:30 am

VENUE					:		University Senate Hall/Conference hall

KIU Gilgit

Karakoram international university

University Road, Gilgit

Website: www.kiu.edu.pk

Email: zahid.ali@kiu.edu.pk

Tele No.05811-960010-13(Ext=231) Fax No. 05811-960032

(Price Rs. 2,000)

- Definitions:

  - KIU: Karakoram International University, Gilgit

  - RFP: Request for Proposal

  - Bill of Quantities (BOQ):  Means detail of equipment required, with complete specifications and quantity required attached with this RFP/bid document.

  - Warranty: Warranty for one year mean accurate functioning/ maintenance of equipment at the sole responsibilities of the supplier.

  - LE: Lab Equipment

  - Bidder: The participant firm who has submitted the proposal

  - Selected bidder: Bidder selected for award of tender for a particular work

- General Requirements:

Following are the General Requirements applicable for RFP

  - The selected bidder will be responsible for the supply and installation of equipment given in BOQ for Engineering Department KIU under development project.

  - Selected bidder must ensure that the supplied lab equipment is fully operational and performs properly.

  - At the time of installation and commissioning, Selected Bidder must provide comprehensive system documentation of system deployed including diagrams, labeling, schematics, configuration etc.

  - The supplier will provide warranty of supplied equipment minimum for one year from the date of installation/commissioning/ functioning properly.

  - Service after sale: The supplier(s) through their authorized dealer/agent in Pakistan shall be responsible to execute with Karakoram International University (KIU), Gilgit, Gilgit-Baltistan after Sale Service Level Agreement SLA) with KIU at agreed charges, period and other terms and condition after expiry of warranty period, if deemed necessary by KIU.

  - Dealers/Agents must be: -

i). Authorized Dealers/ Agents of the manufacturer/ suppliers in Pakistan.

ii). Have valid authorized dealership/agency certificate.

iii). Have their Head Office in Pakistan.

iV). Have a qualified/professional Lab Equipment Engineer/technicians/staff capable to repair/maintain such kind of Lab/ Scientific Equipment.

v). Provide a list of minimum three public sector institutions in Pakistan to whom they supplied such kind of equipment and who are getting their services of repair/maintenance during the last 3 years.

vi). Provide “satisfactory performance” certificate” from three clients who are public sector institutions in Pakistan to whom they supplied such kind of Equipment and providing after sales services during last 3 years.

vii). Provide a copy of their firm Registration Certificate in Pakistan, along with NTN, GST, and Sales certificate.

viii). Income Tax & Sale Tax registration be provided.

- Bids Requirements

The objective of bids requirements is to provide bidders with the information to submit their technical bid in response of RFP. For all categories, bidders must follow requirements for their proposals/bids:

  - For this tender PPRA’S Para 36(b) “Single Stage two envelope bidding procedure for technical and financial bids will be followed”.

  - Bids shall comprise of two envelopes containing two separate i.e. Technical and Financial Proposal and clearly marked Technical and Financial proposals.

  - Proposals shall contain Company profile, Authorization Letters& relationship with principal firms if any etc.

  - Initially Technical proposals will be evaluated. Financial bids of only technically qualified firm shall be opened on the date specified later on.

- Minimum requirements for Service Level Agreements(SLA)

Following requirements for SLA applicable for this RFP:

  - The selected Bidder shall provide 01 years’ warranty/services/hardware parts replacement and software support. The bidder shall ensure that the equipment and its parts are new and free from any sort of defects.

  - Any cause of delay in response and rectification of fault will lead to financial penalties to the selected bidder and details of penalties will be incorporated in SLA.

- Terms of payment

  - Ninety percent (90%) of the contract amount will be paid after successful supply, installation, commissioning and functioning of duly verified, accepted and certified by the authorized inspection committee of KIU after supply & installation of equipment.

  - Ten percent (10%) of the total contract value will be retained as security/ retention money and will be released after completion of warranty period.

  - Income tax 4.5% will be deducted at source, where applicable.

  - GST/ other taxes (if any) shall be recovered if applicable.

- Liquidated Damages

  - liquidated damages shall be applicable if equipment is not supplied on the fixed date, time and venue as per detail below rate:

- A penalty of 0.01% per day of contract cost can be imposed for delays in supply up to 60 days.

- In case the delay in delivery is more than 60 days 10% Late Delivery (LD) will be imposed on the cost of un-delivered items.

- In case of failure in supply of items, Security earnest money Rs.500,000/- shall be forfeited and the supplier will be blacklisted as per PPRA rules

- Terms and Conditions of Successful bidder

  - The selected bidder shall provide the technical documentation as well as user’s manual for the equipment both in the form of hard copy and soft copy.

  - The Security earnest money Rs.500,000/- of the successful bidder shall be deposited in security deposit account of KIU after supply, installation, testing, commissioning and integration of equipment as mentioned in BOQ and will be adjusted in final bill of the supplier.

  - The equipment required for work completion other than explicitly mentioned in the BOQ of this RFP will be the responsibility of the successful bidder.

  - Successful bidder is bound to deliver the equipment of BOQ at KIU Main Store, Gilgit Campus at his own Cost and risk.

  - All the prices should be quoted in Pakistani rupees.

  - The successful bidder is responsible to provide onsite training for KIU Technical staff, minimum for one week to operate the equipment according to acceptable standards.

  - The selected bidder bound to provide original bill of landing /entry and paid import taxes etc.

  - In case of doubt supplied equipment will be verified from manufacturer with serial number provided on equipment or from the landing documents etc.

- General terms and conditions:

The following General terms and conditions apply to all categories of this RFP:

  - Sealed Technical bids supported with technical catalogs will be opened on June 05, 2024 at 11:30 am KIU Senate Hall/Conference hall.

  - Sealed tenders along with security earnest money Rs.500,000/- should be sent via courier services to the Assistant Director Purchases, Karakoram International University, which should reach in at least by 11:00 am in KIU, which will be opened in presence of the committee members and bidders at 11:30 AM on the same date.

  - By hand tenders not be accepted.

  - Ambiguous, conditional and void tenders are liable to be rejected.

  - Taxes will be deducted at source as per rules (if applicable).

  - The equipment will be selected against item (s)-wise lowest rate of each firm, who will stand 1st lowest for the items.

  - RFP will be issued to the firms dealing in Chemicals & Scientific Lab equipment.

  - The university reserves the rights to reject/cancel all or any of the bids as per clause 33 of the Public Procurement Rules, 2004. (Reasons to be communicated if demanded).

  - Validity period of the bids should be 90 days.

  - The decision of the University shall be binding on all concerned and will in no case be challengeable at any forum or any court of law.

  - Bids are liable to be rejected, if they are not in line with the terms, conditions and specifications stipulated in this RFP.

  - During the examination, evaluation and comparison of bids the KIU, at its sole discretion, may ask the bidder for clarification of its bid.

  - The request for clarification and response shall be in writing/email and no change in price or substance of the bid shall be sought, offered or permitted.

  - Delivery time for all items is 12 to 13 weeks after receipt of supply order.

  - Bids submitted via email or fax will not be entertained.

  - The bidder will have to submit a certificate that equipment will be provide of origin mentioned.

  - Bidders will have to provide documentary verifiable evidence regarding authorized agent/dealership of the manufacture.

  - The prospective supplier has to execute an agreement with the University that he will provide the item as per quality and quantity prescribed in the bid documents before the supply order is issued.

  - Bidders have to quote only one option, Bids having more than one option will be treated as non-responsive.

  - The quantity of equipment may increase or decrease as per requirement.

- Clarifications:

Queries regarding this RFP shall be submitted in writing to:

Zahid Ali                                 Shabbir Hussain   		            Nouman Butt

AD Purchases 	                           Director Works		                          Treasurer KIU

Ph: 05811-960010-13(Ext231) Ph: 05811-960010-13 (Ext228)	    Ph: 05811-960036 (Ext107)

zahid.ali@kiu.edu.pk	            Shabbir.hussain@kiu.edu.pk                   treasurer@kiu.edu.pk

13.0	I have read and accept all the terms and conditions.

Manufacturer/Supplier:

Name_________________________________________________________________

Designation____________________________________________________________		Authorized Dealer/Agent in Pakistan:

Name_____________________________________________________________

Designation___________________________________________________________

Signature_____________________________________________________________

Date_________________________________________________________________

|  | BOQ Civil Engineering Technology Labs KIU |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| (A-Engineering Material & Concrete Technology Laboratory) for Civil Engineering KIU Main Campus Gilgit |  |  |  |  |  |
| S.NO | DESCRIPTION | Qty |  |  |  |
| 1 | Bulk Density Apparatus Set. Specs: feed funnel with a spring loaded swivel lid at the bottom, The measuring cup is polished inside and has a capacity of 100 ml +/- 0,5 ml for ISO R 60 and ASTM D 1895 method A. The measuring cup has a capacity of 400 ml for ASTM D 1895 method B. all the required accessories are included .China or Equivalent | 2 |  |  |  |
| 2 | Ultrasonic Pulse velocity tester for concrete as per ASTM C597. Measuring range: 0 - 3000 µs - resolution +/- 0,1 µs Ultrasonic pulse amplitude adjustable from 250 to 1000V Measurement of the time required by the ultrasonic pulse to go through the tested material. Single or continuous acquisition mode with automatic or manual saving. Zero calibration with depuration of the time for the pulse to go through the probes. Batter duration: 6 to 8 hours. Capacity of data acquisition, processing and filing of the test data up to 50 samples. Interface mini USB/pc connection and 12th Generation Laptop having minimum 8 GB RAM. Two outlets for connection to the oscilloscope. Languages: English, French, German, Spanish, Italian. The use of the instrument is made easy because it is based on a user-friendly system. Origin: Turkey, China or Equivalent | 1 |  |  |  |
| (C-Survey Laboratory and Drawing Studio) for Civil Engineering KIU Main Campus Gilgit |  |  |  |  |  |
| S.NO | DESCRIPTION | Qty |  |  |  |
| 1 | Planimeter (used to find area in 2-D maps) Origin: | 2 |  |  |  |
| 2 | Arial survey (Drone camera with RTK) Origin: must be able to conduct detailed Arial survey including topographical survey,2d and 3d maps. Collecting high resolution aerial imagery using calibrated camera of 4K UHD or better. Interface mini USB/pc connection and latest Generation Laptop. Images must have xyz coordinates and rotational information. Specifications: flight time of minimum 45 minutes, obstacle avoidance system that helps to prevent collisions with obstacles. flight range of upto 4-5 km. Max Service Ceiling Above Sea Level (2200 m) Max Ascent Speed 6 m/s (automatic flight); 5 m/s (manual control) Max Descent Speed 3 m/s Max Speed 31 mph (50 kph)(P-mode) 36 mph (58 kph)(A-mode). Hover Accuracy Range ： Vertical：±0.1 m；Horizontal：±0.1.Stabilization 3-axis (tilt, roll, yaw) Pitch -90° to +30°. Max Controllable Angular Speed 90°/s Angular Vibration Range ±0.02° Vision System Velocity Range ≤31 mph(50 kph) at 6.6 ft(2 m) above ground with adequate lighting Altitude Range 0-33 ft(0 – 200 m) Operating Range 0-33 ft(0 – 200 m) Obstacle Sensing Range 2-98 ft(0.7-30 m) FOV Forward/Rear: 60° (horizontal), ±27° (vertical) Operating Environment Surfaces with clear patterns and adequate lighting(＞ 15 lux) Infrared Obstacle Sensing Range 0.6-23 ft(0.2 – 7 m) FOV 70°(Horizontal) ±10°(Vertical) Measuring Frequency 10 Hz Operating Environment Surface with diffuse reflection | 1 |  |  |  |
| (F-Fluid Mechanics Laboratory) for Mining Engineering KIU Main Campus Gilgit |  |  |  |  |  |
| S.NO | DESCRIPTION | Qty |  |  |  |
| 1 | Weir Tank Max. flow 800 US GPM Max. Flow m3/h 180 m³/hour Dimensions L x W x H 89 x 41.3 x 60 inch3. Complete in all respects. Origin: Turkey/Japan/China/Pakistan or Equivalent | 1 |  |  |  |
| G-(Geotechnical Laboratory) for Civil Engineering KIU Main Campus Gilgit |  |  |  |  |  |
| S.NO | DESCRIPTION | Qty |  |  |  |
| 1 | Drying Oven Capacity upto 1000 Degree Celcius Specifications: Nominal Temp. Range [°C] RT+30~1000 Maximum Operating Temp. [°C] 900 Heating Rate [°C/min] 10~20 Temp. Fluctuation [°C] ±3 Power [kW] 2.5 Power Supply [V] 220 Housing Dimensions W×D×H [mm] 500×570×660. Origin: China or equivalent | 1 |  |  |  |
| H-(Hydrology and Hydraulics Laboratory for Civil Engineering KIU Main Campus |  |  |  |  |  |
| S.No | DESCRIPTION | Qty |  |  |  |
| 1 | Tilting Flume with complete accessories respects (6 Meter Long) accessories A 76mm wide, 250mm high open channel for use with an Hydraulics Bench Available in 2.5m and 6.0m working section lengths Clear acrylic sides to give visibility of the working section A jacking system permits the slope of the channel bed to be adjusted between -1% and +3% Inlet tank with flow stilling arrangement Includes a Venturi, sharp and broad-crested weirs, 2 vernier level gauges, adjustable undershot weir and crump weir Wide range of other models available as accessories. Optional flow meter Comprehensive instruction manual ests to be conducted .Interface mini USB/pc connection and 12th Generation core i7 Laptop having minimum 16 GB RAM. Study of open channel flume Use of hook and point gauges to measure water level Use of a Pitot-static tube to measure flow rate and velocity profiles Understanding the relationship between water level above the crest of a weir and flow rate over the weir Using hydraulic structures to control level, eg syphon spillways Understanding sub-and super-critical flow and the underlying characteristics of waves Hydraulic jump Using hydraulic structures for control of flow eg sluice gate Applying and understanding Manning’s formula Origin:Turkey/China/Pakistan or Equivalent | 1 |  |  |  |
| J-(Transportation Laboratory) for Civil Engineering KIU Main Campus |  |  |  |  |  |
| S.No | DESCRIPTION | Qty |  |  |  |
| 1 | Flash Point and Fire Point Test Apparatus, EN 22592, ASTM D92, AASHTO T48, IP 36/67, UNE 7075, NF T60-118, ISO 2592 Origin: UK/USA/Europe/Turkey/Japan/China or Equivalent | 2 |  |  |  |
| 2 | Float Test Apparatus Origin: UK/USA/Europe/Turkey/Japan/China/Pakistan or Equivalent | 1 |  |  |  |
| 3 | Penetration Testing Machine (Penetrometer), Measuring Range 0-50 mm Resolution 0.01 mm Total Test Load 100 g (plunger 97.5 g + 2.5 g penetration needle) Loading Time 5 seconds (adjustable from 0.1 to 9999 sec.) Dimensions 270x480x750 mm Weight (approx.) 18 kg Power 75 W EN 1426, ASTM D5, BS 2000, NF T66-004, AASHTO T49, UNI 4162, UNE 7013, NLT 124, CNR N° 24 Origin: UK/USA/Europe/Turkey/Japan/China or Equivalent | 4 |  |  |  |
| 4 | Viscometer, AASHTO T316, ASTM D4402 Parts Description Viscometer Probe 2 nos Furol Orifice 2 nos Universal Orifice2m nos Flask Pedestal 2 nos Temperature Sensor Probe 1 no 60 ml Saybolt Viscocity Flask 2 2nos. Saybolt Thermometer ASTM 17C, 19°C to 27°C X 0.1°C Saybolt Thermometer ASTM 18C, 34°C to 42°C X 0.1°C Saybolt Thermometer ASTM 19C, 49°C to 57°C X 0.1°C Saybolt Thermometer ASTM 20C, 57°C to 65°C X 0.1°C Say bolt Thermometer ASTM 21C, 79°C to 87°C X 0.1°C Say bolt Thermometer ASTM 22C, 95°C to 103°C X 0.1°C Filter Funnel Withdraw Tube Bath Oil(5 liters) Origin: Europe/Turkey/Japan/China or Equivalent | 3 |  |  |  |
| 5 | Marshall Stability Apparatus EN 12697-34, EN 13108, ASTM D1559, ASTM D6927-06, AASHTO T245, BS 598:107, NF P98-251-2, CNR N° 30 The applied load is measured by a load cell 50 Kn capacity with high precision strain transducers; the flow is measured by an electronic displacement transducer 50 mm stroke and 0.1% linearity. Can connect to PC and make test with software. Consist of LCD screen, Load Cell, Digital, Displacement Transducer, Breaking Head(for 100 mm dia. samples) Weight : 70 kg Dimension : 450 x 605 x 960 mm Power: 220V 50 Hz Warranty: Two years Origin: UK/USA/Europe/Turkey/Japan/China or Equivalent | 3 |  |  |  |
| 6 | California Bearing Ratio Test Apparatus, Test Apparatus, EN 13286-47, ASTM D1883, BS 1377-4:1990, AASHTO T193, CNR UNI 10009 The mounting machine comprises twin column frame incorporating a motorized drive system. Rapid adjustment of platen is provided. Accessories: 50KN clamp Boss load ring, 50 KN S type load cell, CBR moulds with color end perforated base, CBR mould body, BS extension color, BS solid base/ top plate, CBR penetration piston adjustable, CBR penetration transducer 50mm travel fitted with 5 pin din plugg. Warranty: Two years : UK/USA/Europe/Turkey/Japan/China or Equivalent | 2 |  |  |  |
| K-(Workshop Training Laboratory) for Civil Engineering KIU Main Campus |  |  |  |  |  |
| S.No | DESCRIPTION | Qty |  |  |  |
| (A) Wood Work Shop |  |  |  |  |  |
| 1 | Universal Wood Machine specifications: 4 nos Planner blades (fitted with the cutter block} 2 nos Growing (Jhim )cuters3/4, 1/2 1 no, Rebating growing cutter with changeable knives. Dril for making holes & mortising size 3/8x,1/2x,5/8x holes 8 & 1x Grinding attachment with grinding wheel and blade holder. Grease gun & oil can. Pipe wench. Appropriate key and spanner set. One molding tool One man drel for holding molding tools One cullet for holding drills One plane and grooved roller for molding One circular saw diameter 3O0mm One motor pulley V-belt. Origin : China or equivalent | 1 |  |  |  |
| 2 | Chisol and Chain Machine Application Woodworking Max Processing Width 180mm Max Processing Thickness 76mm Motor Speed 1400rpm/2800rpm Automatic Grade: Semi-automatic Origin China or equivalent | 1 |  |  |  |
| (B) Foundry Shop |  |  |  |  |  |
| 3 | Gas furnace an automatic operating gas-fired central forced air furnace that uses propane or natural gas. Compact 33” height Standardized widths for easy fit. Aluminized steel primary heat exchanger with crimped no weld clamshell design | 1 |  |  |  |
| 4 | Grinding Machine (HAND GRINDER supported by 9 inch cutting disk. | 1 |  |  |  |
| 5 | Centrifugal Casting Machine Max Bending Radius 50 MM To 1000 MM Condition New Design New Metallic Design Material Grade Forged Steel Body Maximum Temperature 1700 Automatic Grade Automatic Power Electric | 1 |  |  |  |
| 6 | Sand Mixing machine | 1 |  |  |  |
| C) Machine Shop |  |  |  |  |  |
| 7 | Lathe machine Height of center 215 mm Swing Over Bed 425 mm Swing OVer Cross Slide 239 mm Movement of Cross Slide 250 mm Swing in Gap 620 mm Bed type 2V / 2 Flat 2V / 2 Flat Bed width 241 mm 279 mm Length of Gap in Bed 150 mm Length in Gap in Front of Face Plate 125 mm Size of Threaded Spindle Nose 8 TPI / 75 mm | 1 |  |  |  |
| 8 | Surface Grinder Machine Grinding Capacity: LXWXH 800 x 400 x 405mm Longitudinal table travel 820mm Cross table travel 440mm Max. Distance from the spindle centre To the worktable surface 580mm Safety load of bench (in max) 400 Kg Table size 800 x 400mm T-slot 18 x 3 mm x no. Bench speed 0-26 m/min Cross auto feed 0.5-20mm / div Cross rapid feed – Cross handwheel 0.02mm/div Grinding Wheel size( DXWXd) 350 x 32 x 127mm | 1 |  |  |  |
| 9 | Redial Drill Machine Spindle Speed 16-1250 RPM Clamping Type Hydraulic Drilling in M.S. 80 mm Drilling in C.I. 90 mm Spindle Travel 450 mm Arm Length 2500 mm Drill Head Travel 2000 mm Column Diameter 550 Model Z3080 x 25 Capacity Drilling in M.S. 80 mm Drilling in C.I. 90 mm Tapping in M.S. M48 Drilling Head Spindle Hole Tapper MT-6 Spindle Travel 450 mm Range of Spindle Speed 16-1250 rpm Number of Spindle Speeds 16 Number of Auto Feeds 16 Range of Auto Feeds 0.04-3.20mm/rev. | 1 |  |  |  |
| 10 | CNC Lath Machine Max. Swing over bed Ф1000 mm Max. swing over carriage Ф620 mm Width of bed 755 mm Max. length of work piece 1.5/ 2/ 3/ 4/ 5/ m Max. turning length 1.3/ 1.8/ 2.8/ 3.8/ 4.8/ 5.8/ 7.8/ 9.8 m Spindle bore Ф130 mm Spindle tapper Metric Ф140 1:20 Steps of spindle speed(manual) 2 steps (manual) Range of spindle speed 2.5~34, 20~270 rpm FEED Rapid feed for axis Z 8 m/min Rapid feed for axis X 5 m/min TRAVEL Max.travel of Z axis 1.55/2.05/3.05/4.05/5.05/6.05/8.05/10.05 m Max.travel of X axis 580 mm 685 mm 820 mm TOOL POST Tool post stations 4 Tool cross section 40×40 mm 50×50 mm TAILSTOCK Tailstock sleeve outer dia. Ф160 mm Tailstock sleeve taper bore Metric Ф80 Tailstock sleeve travel 300 mm | 1 |  |  |  |
| 11 | CNC Milling machine Achievable accuracy Below 0,1mm SIZE: 970 x 1370 x 600mm Typical cutting parameters (softwood) - Federate: 5000 mm/min - Depth of cut: 4 mm - Spindle speed: 18,000 rpm - Carbide cutter 3 flutes 6 mmm Maximal travel speed 10 000 mm/min | 1 |  |  |  |
| (D) Filer Shop |  |  |  |  |  |
| 12 | Pipe Binding Machine Specifications Electro-Hydraulic Pipe Bender. Max pressure: 23T. Max stroke: 370mm. Bending capacity: Φ21.3-Φ108mm (1/2″-4″) Bending Angle: 90°< a < 180° Bending shoes: 1/2″,3/4″,1″,1 1/4″,1 1/2″,2″, 2 1/2″, 3″, 4″ Pipe wall thickness: 2.75-6mm | 1 |  |  |  |

BOQ Mining Engineering Technology Lab KIU

| B-Rock Mechanics Lab |  |  |  |
| --- | --- | --- | --- |
| S.NO | DESCRIPTION | Qty |  |
| 1 | Pundit portable ultrasonic nondestructive digital indicating tester: Origin | 1 |  |
| C-(Mine Safety Laboratory) |  |  |  |
| S.NO | DESCRIPTION | Qty |  |
| 1 | Total & Respirable Dust Sampler: Pump with built-in calibration system. Flow range of 1.5-3 1/min, adjustable flow, Built-in pulsation dampener, Rechargeable battery pack, Timing 12 hours, Compatible to International standards. Origin | 1 |  |
| D-(Mine Safety Laboratory) |  |  |  |
| S.NO | DESCRIPTION | Qty |  |
| 1 | Portable Core Drill Machine Power source: Fuel Operated (Diesel/Petrol) Variable coring capacity: (30-75mm bits) NX size 54mm bit Universal core drilling machine: 0- 360 degree, Origin | 1 |  |
| (E-Mine Machinery & Survey Laboratory) |  |  |  |
| S.NO | DESCRIPTION | Qty |  |
| 1 | Plani meter Digital Unit metric: mm, mm / cm / m / ha / km Accuracy = ± 0.1% Resolution = area 0.05 cm2 | 1 |  |
| 2 | Ranging rods wooden 2 meter Material: Wooden Length: 2m | 1 |  |
| 3 | Tilting Level Length: 170 -200mm Magnification: 20X -30X Objective Aperture: 35-40mm Accuracy: ± 2-3 mm / Km Graduation: 10 minutes | 5 |  |
| 4 | Telescopic Alidade Telescopic alidade with compass on brass base and foot screws & bubble, Compass dia: 8 -10 cms. Telescope's lens: 20- 25 mm. Magnification 15 -30 X. Telescope extended: 32 cms, collapsed 23 cms. | 5 |  |
| (F-Geology Laboratory) |  |  |  |
| S.NO | DESCRIPTION | Qty |  |
| 1 | Geology Landform Demonstration Kit Over10-20 activities enable students to develop a thorough understanding of volcanic action, faulting and folding as well as many other geologic processes. Kit includes Demonstration tray, three pieces of legible foam, three simulated rock structures, an erupting volcano, miscellaneous project materials and comprehensive Study Guide. | 1 |  |